## Slide 1: POTS Replacement MACH Networks
January 2023

## Slide 2: POTS REPLACEMENT – MACH NETWORKS

## Slide 3: POTS REPLACEMENT – EPIK vs. MACH

## Slide 4: MACH Networks – Operations Issues
How is it deployed in our stores?
Site Assessment – Questionnaire – Configure – Ship – Install – Test – Accept.
MACH Network build sheet provided.
Some level of details on the equipment that would be mounted at the site
We have images. (Closed box on wall – Paul to work with Clayton to locate)
Optional Monitoring
MACH provides monitoring with notification to BullsEye to troubleshoot. Can provide customer contact if needed but prefer to have Bullseye be point of contact.
What standards it meets to be accepted as fire burglar or alarms, elevator service line?
It is compliant with NFPA 72 and each component has its own UL certification.
Who would provide the maintenance and support for the equipment?
MACH with BullsEye’s oversight.

## Slide 5: MACH Build Sheet